## RFQ 1631+1632
care international in Turkey | [10 empty] | REQUEST FOR QUOTATIONS (RFQ)
Emek mah. İbrahimli Yolu cad. No:13-B Şehitkamil | [7 empty] | Please complete, sign and return this to CARE International in Turkey
Gaziantep, Turkey | [7 empty] | by: | E-mail ( TUR.xbprocurement@care.org)
RFQ # -->> |  |  |  | 1631+1632 |  |  |  | Vendor Name ->>
Purchase Request #--> |  |  |  | 1631+1632 |  |  |  | Vendor Address -->>
Date of RFQ -->> |  |  |  | 11.02.2021
Subject: |  |  | GENERATORS
Please send us your best price for the items as described below | [9 empty] | CURRENCY |  | TRY
Item # |  | Item Description |  |  | Specifications |  | Unit of Measure |  | Quantity | Unit Price without VAT |  | Total Price
|  | ÜRÜN TANIMI |  |  | Ozellikler |  | Birimi |  | Adet | KDV siz Birim Fiyat |  | Toplam Tutar
1 |  | CLOSED GENERATOR (EUROPEAN OR TURKISH BRAND WITH NO USA MADE PARTS INSIDE) |  |  | 20 KVA Diesel generator, Better or equivalent, 50 Hz Diesel Generator Sets, 20KVA. European or Turkish brand with zero American parts. Minimum fuel consumption, able to consume local fuel, sound proof enclosures minimise operating noise, down to an ultra-quiet 51 dB @ 10 m. Compliance with ISO 8528, ISO 3046, BS 5514, DIN 6271 standards. Speed / Frequency 50 Hz rpm 1500 rpm / 50 Hz, Engine Gross Power (Standby 50 Hz) kW 20, Fuel Consumption %110 ESP 50 Hz ( 5-6) lt/h , No of Phases 1 , Power Factor 0,8 Control Panel should ensure comfortable and safe usage. All measured and statistical parameters, operatingmodes, notice and alarms and condition of generator should be monitored easily from the control panel. On the front of the panel’s metal body has electronic control module and the emergency stop button and thepanel’s metal body is made of steel sheet and is painted with electrostatic powder paint. |  | EACH |  | 5 |  |  | 0
2 |  | TRANSPRTATION AND OTHER COSTS ( for ex. Crane etc..) TO AZAZ-SYRIA |  |  | VENDOR IS RESPONSIBLE TO DELIVER THE ITEMS TILL THE FINAL DESTINATION- 2 OF THE GENERETAORS WILL BE DELIVERED TO AZAZ-SYRIA |  | EACH |  | 2 |  |  | 0
3 |  | TRANSPRTATION AND OTHER COSTS( for ex. Crane etc..) TO IDLEB-SYRIA |  |  | VENDOR IS RESPONSIBLE TO DELIVER THE ITEMS TILL THE FINAL DESTINATION-3 OF THE GENERATORS WILL BE DELIVERED TO IDLEB-ALDANA -SYRIA |  | EACH |  | 3 |  |  | 0
[10 empty] | TOTAL: |  | 0
1 | Quotation submission Date: The price offer / Quotation must be submitted to the Procurement Department on or before:
2 | Items are to be delivered to (location): |  |  |  |  | AZAZ-IDLEB/SYRIA | [7 empty] | On or Before -->> | 18.02.2021 Thursday-17:30
3 | Specify delivery time:
4 | Payment Terms: Payment will be made within thirty (30) working days upon submission of final invoice
5 | Mode of Payment: By Bank Transfer
*** OFFERS WITHOUT EXACT BRAND-MODEL AND SPECS WILL NOT BE EVALUTED.
Signature of Vendor
*** PLEASE NOTE THAT GENERATOR CAN NOT INVOLVE ANY USA MADE PART INSIDE AND GENERATORS SHOULD BE EUROPEAN OR TURKISH BRAND.PLEASE SHARE THE ORIGINAL CERTIFICATES THAT PROVES THE GENERATOR DOESNT INCLUDED ANY USA MADE PART!!!
Date
[Affix Company Seal / Stamp here]