## Annex 1
Oxygen Generator
# | Item | Unit of measure | Requested Quantity | Items to be specified |  |  | Specifications of items will be provide by the bidder | Brand of items | Warranty (Years) | Additional Accessories | The quantity that can be provided by the bidder in one-shot shipment (Please don't list quantities that exceed the requested quantities) | Can the bidder obtain the required approvals from the Turkish authorities to provide the item through the cross-border into Syria? (Yes/ No) | Was the device's technical specification document including the catalogues sent with the price offer? (Yes No) | Unit Cost | Total Cost (USD)
# | العنصر | الواحدة | الكمية المطلوبة | العناصر التي سيتم تحديد مواصفاتها |  |  | مواصفات العناصر التي سيزودها العارض | ماركة العنصر | مدة الضمان | الملحقات الإضافية | الكمية التي يستطيع العارض تزويدها في الدفعة الواحدة (يرجى عدم إدراج كميات تتجاوز الكميات المطلوبة) | هل العارض قادر على تأمين موافقة مسبقة من السلطات التركية لتزويد الصنف عبر الحدود إلى سوريا؟ (نعم/ لا) | هل تم ارسال ملف المواصفات الفنية للجهاز مع عرض السعر؟ (نعم / لا) | السعر الإفرادي | السعر الإجمالي
1 | Oxygen Generator with cylinder compressing unit for medical use Minimum daily production capacity 300 Cylinders (with main disposables spare parts and items for 1 year). | Device | 2 | Oxygen Production (Nm3/hr , L/hr) | [10 empty] | 0
Oxygen Purity
Daily production capacity (Cylinders)
|  |  |  | Compressed air unite | Air compressor | Compressor rate
Type
Energy
Connection
[5 empty] | Air tank | Air capacity
Test Pressure
Type
Connection
[5 empty] | Air Dryer | Air capacity
Energy
Connection
Dimensions
[5 empty] | Air Filter | Air capacity
Connection
|  |  |  | Oxygen production unite | Oxygen Generator | Oxygen rate
Oxygen Purity Control
Oxygen rate control
Energy
Connection
[5 empty] | Oxygen Tank | Oxygen Capacity
Type
Test pressure
Inner&Outer Coating
Connection
Dimensions
[5 empty] | Oxygen Filter | Air capacity
Test Pressure
|  |  |  | Cylinder filling unite | Oxygen Compressor | Oxygen Capacity
Energy
Filling capacity
Dimensions (LxWxH)
Cooling
Pressure Control