## Healthcare Infrastructure
Health & Nutrition Infrastructure
Note: The BoQ covers the unit costs for goods and services required for any Healthcare Infrastructure: -Construction of new healthcare centers (primary, secondary, tertiary). -Rehabilitation of existing healthcare facilities (walls, roofs, utilities). -Expansion of outpatient departments (OPD) and inpatient wards. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
A1 | New Healthcare Center Construction | Comprehensive construction of healthcare centers | Lump sum |  | Includes evaluation, design, and construction
A11 | Primary Healthcare Centers | Construction of clinics for basic health services | Lump sum |  | Includes consultation rooms, dispensaries, and minor procedures
A12 | Secondary Healthcare Centers | Facilities with diagnostic and treatment capabilities | Lump sum |  | Includes laboratories, imaging units, and outpatient services
A13 | Tertiary Healthcare Centers | Advanced facilities with specialized medical services | Lump sum |  | Includes operating theaters, ICUs, and inpatient wards
A14 | Modular Healthcare Units | Prefabricated, rapidly deployable healthcare facilities | Unit |  | Ideal for emergency or remote area operations
A15 | Healthcare Center with Integrated Housing | Facilities with on-site staff accommodations | Lump sum |  | Improves healthcare delivery in rural and remote areas
A16 | Mobile Healthcare Clinics | Fully equipped mobile clinics for outreach services | Unit |  | Suitable for underserved and dispersed populations
A17 | Healthcare Centers with Maternity Units | Facilities designed for antenatal, delivery, and postnatal care | Lump sum |  | Promotes maternal and child health
A18 | Specialty Clinics | Construction of centers for dental, eye care, or other specialties | Lump sum |  | Enhances access to specialized services
A19 | Sustainable Healthcare Centers | Centers designed with energy-efficient systems and renewable energy | Lump sum |  | Promotes environmental sustainability
A110 | Emergency Healthcare Facilities | Trauma and emergency response centers | Lump sum |  | Includes ambulance bays, triage rooms, and emergency equipment
A2 | Facility Rehabilitation | Repair and upgrading of existing healthcare facilities | Lump sum |  | Improves functionality and patient safety
A21 | Wall and Roof Repairs | Restoration of walls and roofs in healthcare facilities | Lump sum |  | Ensures structural integrity and weatherproofing
A22 | Utility System Upgrades | Upgrading plumbing, electrical, and HVAC systems | Lump sum |  | Ensures uninterrupted and safe utilities
A23 | Accessibility Enhancements | Installation of ramps, lifts, and other inclusive features | Lump sum |  | Ensures universal accessibility for all patients
A24 | Interior Refurbishment | Renovation of floors, ceilings, and finishes | Lump sum |  | Enhances aesthetics and infection control
A25 | Replacement of Obsolete Equipment | Replacement of old and non-functional medical equipment | Unit |  | Improves service delivery and compliance with standards
A26 | Outdoor Area Improvements | Rehabilitation of parking lots, pathways, and landscaping | Lump sum |  | Enhances patient and staff convenience
A27 | IT and Communication Upgrades | Installation of modern IT systems and communication networks | Lump sum |  | Supports telemedicine and electronic health records
A28 | Laboratory and Diagnostic Area Rehabilitation | Renovation of labs and diagnostic spaces | Lump sum |  | Ensures accurate diagnostics and safety
A29 | Infection Control Systems | Installation or repair of negative pressure rooms and clean areas | Lump sum |  | Improves patient and staff safety
A210 | Waste Management Systems | Upgrading medical waste segregation and disposal systems | Lump sum |  | Ensures compliance with environmental regulations
A3 | Ward and OPD Expansion | Increasing capacity for outpatient and inpatient care | Lump sum |  | Supports growing patient demand
A31 | Additional OPD Rooms | Construction of consultation and treatment rooms | Lump sum |  | Reduces patient waiting times
A32 | New Inpatient Wards | Construction of general and private patient wards | Lump sum |  | Includes beds, nurse stations, and support areas
A33 | Isolation Wards | Construction of isolation wards for infectious diseases | Lump sum |  | Equipped with negative pressure and HEPA filtration systems
A34 | Maternity Wards Expansion | Additional spaces for maternal care | Lump sum |  | Includes delivery rooms and postnatal units
A35 | Pediatric Units | Specialized spaces for pediatric care | Lump sum |  | Includes play areas and child-friendly designs
A36 | Intensive Care Units (ICUs) | Expansion of ICUs for critical care patients | Lump sum |  | Equipped with ventilators, monitoring devices, and support
A37 | Emergency and Trauma Wards | New spaces for emergency and trauma cases | Lump sum |  | Enhances response capacity for critical cases
A38 | High Dependency Units (HDUs) | Intermediate care units for patients requiring closer monitoring | Lump sum |  | Bridges gap between regular wards and ICUs
A39 | Multi-Purpose Recovery Rooms | Recovery spaces for surgical and post-treatment patients | Lump sum |  | Ensures comfortable and monitored recovery

## Specialized Healthcare Units
Specialized Health & Nutrition Units
Note: The BoQ covers the unit costs for goods and services required for any Specialized Healthcare Units: -Construction of maternity wards and pediatric units. -Construction of diagnostic and laboratory facilities (pathology labs, X-ray rooms). -Development of cold storage rooms for vaccines and medical supplies. -Rehabilitation and upgrading of specialized units (ICUs, emergency rooms). in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
G1 | Maternity and Pediatric Units | Construction of specialized healthcare units for mothers and children | Lump sum |  | Includes patient-centric designs for better care environments
G11 | Birthing Suites | Private delivery suites with modern medical equipment | Unit |  | Designed for comfort and clinical efficiency
G12 | Postnatal Care Units | Facilities for maternal and neonatal recovery | Lump sum |  | Includes lactation rooms and resting areas
G13 | Pediatric Intensive Care Units (PICUs) | Specialized ICUs for critical pediatric care | Unit |  | Equipped with ventilators, monitors, and isolation beds
G14 | Maternal Counseling Rooms | Private spaces for mental health and nutrition counseling | Lump sum |  | Supports holistic maternal care
G15 | Specialized Neonatal Transport Facilities | Designated areas for neonatal ambulances and transfer equipment | Lump sum |  | Ensures timely and safe transport of critical newborns
G16 | Child-Friendly Waiting Areas | Play zones and child-safe waiting lounges for families | Lump sum |  | Designed for stress reduction in young patients
G17 | Emergency Obstetric Operating Theaters | Dedicated OT for complicated deliveries | Lump sum |  | Includes sterilization zones and advanced monitoring systems
G2 | Diagnostic and Laboratory Facilities | Comprehensive facilities for medical diagnostics | Lump sum |  | Includes equipment installation and structural requirements
G21 | Biochemistry Labs | Labs for metabolic and enzymatic diagnostic testing | Lump sum |  | Equipped with automated analyzers and lab-grade refrigerators
G22 | Radiology Rooms | Designated spaces for CT, MRI, and ultrasound imaging | Lump sum |  | Includes lead shielding and ergonomic patient tables
G23 | Pathogen Containment Units | Biosafety Level 3 and 4 labs for infectious diseases | Lump sum |  | Critical for pandemic response and high-risk pathogen analysis
G24 | Genetic Testing Labs | Specialized labs for DNA/RNA testing and sequencing | Lump sum |  | Includes PCR machines and advanced computational tools
G25 | Sample Handling and Storage Areas | Secure areas for storing and processing biological samples | Lump sum |  | Includes ultra-low temperature freezers and automated racks
G26 | On-Site Diagnostic Mobile Labs | Fully equipped mobile units for remote diagnostics | Unit |  | Ideal for underserved or disaster-affected areas
G3 | Vaccine and Medical Cold Storage Systems | Systems to maintain the integrity of temperature-sensitive supplies | Lump sum |  | Supports vaccine distribution and emergency preparedness
G31 | Multi-Chamber Cold Rooms | Segmented storage areas for different temperature needs | Lump sum |  | Includes energy-efficient cooling systems
G32 | Pharmaceutical Refrigeration Units | Refrigerators for storing medicines and biologicals | Unit |  | Suitable for clinics and field hospitals
G33 | Solar-Powered Cold Storage Systems | Renewable energy-based refrigeration for remote areas | Unit |  | Reduces operational costs and carbon footprint
G34 | Transportable Freezer Containers | Portable cold chain solutions for large-scale vaccine programs | Unit |  | Used during mass vaccination campaigns
G35 | Cold Room Backup Automation | Integration of automated backup systems for cold storage | Lump sum |  | Prevents loss of stock during power outages
G4 | Rehabilitation of Specialized Healthcare Units | Comprehensive refurbishment of existing healthcare units | Lump sum |  | Modernizes facilities to meet current healthcare standards
G41 | Negative Pressure Rooms | Upgrading existing rooms to negative-pressure isolation units | Lump sum |  | Essential for infectious disease management
G42 | Emergency Ward Expansion | Increasing capacity of emergency response areas | Lump sum |  | Includes triage zones and overflow management
G43 | Seismic Retrofitting for Hospitals | Strengthening structures to withstand earthquakes | Lump sum |  | Critical for facilities in seismic zones
G44 | Sustainable HVAC Upgrades | Installation of eco-friendly heating, ventilation, and air-conditioning systems | Lump sum |  | Improves patient comfort and reduces operational costs
G45 | High Dependency Unit (HDU) Expansion | Creation of additional HDU capacity for critical patients | Lump sum |  | Includes cardiac monitoring and ventilatory support systems
G5 | Automation and Smart Healthcare Systems | Integration of advanced digital systems in healthcare units | Lump sum |  | Increases operational efficiency and patient safety
G51 | AI-Powered Diagnostic Tools | Automated diagnostic systems using artificial intelligence | Lump sum |  | Provides rapid and accurate patient assessments
G52 | Remote Patient Monitoring | IoT-enabled devices for continuous patient health monitoring | Lump sum |  | Supports telemedicine and proactive care
G53 | Digital Medical Records Management | Installation of electronic health record (EHR) systems | Lump sum |  | Streamlines data handling and accessibility
G54 | Energy-Efficient Smart Lighting | Smart LED systems for healthcare environments | Lump sum |  | Reduces energy usage and improves lighting efficiency

## Sanitation Facilities in HC
Sanitation Facilities in Health & Nutrition Centers
Note: The BoQ covers the unit costs for goods and services required for any Sanitation Facilities in Healthcare Centers: -Construction of gender-segregated sanitation facilities in healthcare centers. -Rehabilitation of old sanitation systems, septic tanks, and drainage systems. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
P1 | Gender-Segregated Sanitation Facilities | Construction of separate facilities for men and women | Lump sum |  | Ensures privacy and hygiene compliance in healthcare centers
P11 | Male Sanitation Units | Toilets, urinals, and washbasins designed for male use | Unit |  | Includes durable materials for high-usage environments
P12 | Female Sanitation Units | Toilets and washbasins designed for female use | Unit |  | Includes features for menstrual hygiene management
P13 | Accessible Sanitation Facilities | Toilets and washbasins for individuals with disabilities | Unit |  | Equipped with ramps, handrails, and wider doors
P14 | Pediatric Sanitation Facilities | Child-sized toilets and washbasins | Unit |  | Designed for pediatric healthcare settings
P15 | Waiting Area Restroom Facilities | Additional sanitation units near waiting areas | Unit |  | Prevents overcrowding and improves patient experience
P16 | Dedicated Staff Sanitation Units | Separate sanitation units for healthcare staff | Unit |  | Ensures hygiene and convenience for healthcare professionals
P17 | Isolation Ward Sanitation Facilities | Dedicated sanitation for isolation and infectious wards | Unit |  | Includes biohazard containment systems
P18 | Emergency Response Sanitation Units | Portable sanitation units for emergency areas | Unit |  | Suitable for mobile healthcare and disaster setups
P2 | Sanitation System Rehabilitation | Comprehensive repair of old sanitation facilities | Lump sum |  | Restores full functionality and improves efficiency
P21 | Septic Tank Repairs | Repair and sealing of damaged septic tanks | Lump sum |  | Prevents leaks and ensures safe waste management
P22 | Drainage System Repairs | Restoration of clogged or broken drainage systems | Lump sum |  | Includes replacement of pipes and fittings
P23 | Plumbing Upgrades | Replacement of outdated plumbing systems | Lump sum |  | Ensures consistent water flow and minimizes leaks
P24 | Ventilation and Odor Control Systems | Installation of improved ventilation for sanitation units | Lump sum |  | Eliminates odor and enhances air quality
P25 | Sanitation Accessibility Upgrades | Retrofitting for compliance with accessibility standards | Lump sum |  | Includes ramps, tactile flooring, and visual signage
P26 | Internal Coatings for Wet Areas | Application of water-resistant coatings to walls and floors | Lump sum |  | Improves hygiene and prevents seepage
P27 | Biohazard Waste Management Systems | Installation or rehabilitation of biohazard waste disposal units | Lump sum |  | Ensures safety in infectious disease areas
P28 | Energy-Efficient Sanitation Retrofits | Integration of water-saving and low-energy sanitation systems | Lump sum |  | Reduces operational costs and promotes sustainability
P3 | Advanced Sanitation Features | Integration of modern features for sanitation facilities | Lump sum |  | Ensures efficiency and hygiene
P31 | Automated Flush Systems | Installation of touchless flushing mechanisms | Unit |  | Reduces contamination risk
P32 | Sensor-Operated Washbasins | Hands-free washbasins with automatic water flow | Unit |  | Promotes water conservation
P33 | Smart Hygiene Monitoring Systems | IoT-enabled systems for monitoring usage and cleanliness | Unit |  | Ensures proactive maintenance and hygiene
P34 | Soap Dispenser and Hand Dryer Installation | Touchless dispensers and dryers for hygiene optimization | Unit |  | Reduces cross-contamination risk
P35 | Greywater Recycling Systems | Systems for recycling and reusing greywater | Lump sum |  | Supports sustainable water usage
P36 | UV Disinfection Systems for Wastewater | Installation of UV-based disinfection for treated water | Lump sum |  | Ensures safety and hygiene in sanitation systems
P37 | Waterless Urinal Installation | Advanced urinals with no water requirement | Unit |  | Reduces water consumption
P38 | Sanitation Facility Backup Power Systems | Installation of solar-powered or generator-based backup power | Lump sum |  | Ensures uninterrupted operation of sanitation systems
P4 | Maintenance and Awareness Programs | Training and awareness initiatives for staff and patients | Lump sum |  | Promotes long-term functionality and proper use
P41 | Staff Training on Facility Maintenance | Workshops for healthcare staff on maintaining sanitation systems | Session |  | Ensures proper handling and timely repairs
P42 | Hygiene Awareness Campaigns | Awareness programs for proper use of sanitation facilities | Session |  | Encourages hygienic practices
P43 | Provision of Maintenance Kits | Kits with essential tools and materials for upkeep | Lump sum |  | Supports quick repairs and sustained functionality
P44 | Real-Time Feedback Systems | Installation of digital kiosks for user feedback | Unit |  | Ensures continuous improvement based on user input
P45 | Visual and Pictorial Instructions | Display of clear instructions for facility use | Lump sum |  | Promotes effective and hygienic use

## Waste Management Systems for H
Waste Management Systems for Health & Nutrition
Note: The BoQ covers the unit costs for goods and services required for any Waste Management Systems for Healthcare: -Construction of bio-waste treatment plants for infectious and hazardous waste. -Installation of incinerators for medical waste disposal. -Rehabilitation of waste storage and disposal facilities. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
J1 | Bio-Waste Treatment Plants | Construction of specialized facilities for infectious and hazardous waste | Lump sum |  | Designed for safe and efficient waste processing
J11 | Segregation Zones | Dedicated zones for waste segregation by category | Lump sum |  | Ensures efficient sorting for proper disposal
J12 | Thermal Decomposition Units | Installation of pyrolysis or gasification systems for waste reduction | Unit |  | Ideal for sustainable waste-to-energy conversion
J13 | Shredding and Pulverizing Units | Setup of shredders for volume reduction before treatment | Unit |  | Prepares waste for easier handling
J14 | Hazardous Waste Incineration Chambers | High-temperature incineration chambers for hazardous waste | Unit |  | Ensures complete destruction of infectious materials
J15 | Effluent Treatment Units | Construction of wastewater treatment systems within the plant | Lump sum |  | Prevents contamination from facility discharge
J16 | Bio-Digestion Systems | Anaerobic digesters for processing organic medical waste | Unit |  | Produces biogas and reduces landfill burden
J17 | Leachate Treatment Facilities | Dedicated units for managing and treating leachate | Lump sum |  | Reduces risk of water contamination
J18 | Energy Recovery Systems | Integration of waste-to-energy systems | Lump sum |  | Captures energy from biogas or incineration
J19 | Automation and Monitoring Systems | Smart technologies for real-time waste management monitoring | Lump sum |  | Enables efficient and automated waste processing
J110 | Odor Management Solutions | Installation of deodorizing systems | Lump sum |  | Enhances working conditions in waste processing areas
J2 | Medical Waste Incinerators | Installation of incinerators for healthcare waste disposal | Unit |  | Suitable for various types of healthcare waste
J21 | Small-Scale Incinerators | Low-capacity units for small clinics or health posts | Unit |  | Cost-effective solution for limited waste volumes
J22 | Medium-Capacity Incinerators | Incinerators for medium-sized hospitals | Unit |  | Includes automated feeding systems
J23 | High-Capacity Incinerators | Large-scale incinerators for urban hospitals | Unit |  | Operates continuously for high waste output
J24 | Emission Control Units | Installation of scrubbers and filters for controlling emissions | Unit |  | Meets environmental standards for air pollution
J25 | Heat Recovery Systems | Systems to capture and reuse heat from incineration | Lump sum |  | Improves energy efficiency and reduces waste
J26 | Safety Features for Incinerators | Installation of fire suppression systems and emergency alarms | Lump sum |  | Ensures worker safety
J27 | Residual Ash Processing Units | Equipment for ash handling and stabilization | Lump sum |  | Prepares ash for safe disposal
J28 | IoT-Based Monitoring | Integration of real-time monitoring for incinerator performance | Lump sum |  | Enhances operational efficiency
J3 | Waste Facility Rehabilitation | Repair and modernization of waste storage and disposal facilities | Lump sum |  | Upgrades existing infrastructure
J31 | Structural Upgrades | Repairs to walls, roofing, and storage areas | Lump sum |  | Improves facility safety and durability
J32 | Expansion of Storage Facilities | Increasing storage capacity for growing waste volumes | Lump sum |  | Supports future scalability
J33 | Ventilation and Airflow Improvements | Enhanced ventilation for odor and air quality management | Lump sum |  | Reduces health hazards
J34 | Hazardous Waste Containment | Installation of specialized containment systems for hazardous waste | Lump sum |  | Prevents environmental contamination
J35 | Leachate Drainage and Treatment Repairs | Upgrading leachate collection and treatment systems | Lump sum |  | Prevents water source contamination
J36 | Waste Storage Container Replacement | Supply of durable, modern waste storage containers | Unit |  | Ensures safe handling and segregation
J37 | Access Control and Security Features | Installation of gates, cameras, and restricted access zones | Lump sum |  | Ensures compliance and safety
J4 | Smart Waste Management Systems | Integration of advanced technologies for waste handling | Lump sum |  | Supports efficient waste tracking and disposal
J41 | RFID Waste Tagging | Installation of RFID systems for tracking healthcare waste | Unit |  | Enhances traceability
J42 | IoT-Based Waste Monitoring | Smart sensors to monitor waste levels and processing parameters | Lump sum |  | Enables proactive management
J43 | Solar-Powered Waste Facilities | Solar energy systems for powering waste facilities | Lump sum |  | Promotes sustainability
J44 | Emergency Spill Kits | Provision of kits for quick response to hazardous spills | Lump sum |  | Enhances safety and reduces risks
J45 | Environmental Monitoring Systems | Real-time monitoring of air, soil, and water quality near facilities | Lump sum |  | Ensures compliance with environmental regulations
J46 | Training for Waste Management Staff | Conducting capacity-building workshops for staff | Session |  | Ensures proper handling and operation of waste systems

## Accommodation and Support Facil
Accommodation and Support Facilities
Note: The BoQ covers the unit costs for goods and services required for any Accommodation and Support Facilities: -Construction of housing for healthcare staff within or near healthcare facilities. -Rehabilitation of existing staff accommodations. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
U1 | Staff Housing Units | Construction of housing facilities for healthcare staff | Unit |  | Ensures proximity and availability of staff during emergencies
U11 | Single-Occupancy Housing | Individual housing units for single healthcare professionals | Unit |  | Includes bedroom, kitchen, and bathroom
U12 | Family Housing Units | Multi-room accommodations for healthcare staff with families | Unit |  | Provides sufficient space for family living
U13 | Shared Housing Units | Dormitory-style accommodations for multiple healthcare workers | Unit |  | Cost-effective for large teams
U14 | Emergency Accommodation | Quick-deployment modular housing for temporary staff | Unit |  | Ideal for emergency healthcare responses
U15 | Eco-Friendly Housing | Construction of energy-efficient and sustainable staff housing | Unit |  | Includes solar panels, rainwater harvesting systems
U16 | On-Site Housing Integration | Housing facilities integrated within healthcare center premises | Lump sum |  | Enhances accessibility and reduces commuting time
U17 | Accessible Housing for Disabled Staff | Units designed with ramps, wide doors, and accessible bathrooms | Unit |  | Ensures inclusivity and compliance with accessibility standards
U18 | High-Rise Residential Complexes | Multi-story staff housing for urban healthcare facilities | Unit |  | Optimizes space and provides modern amenities
U19 | Off-Grid Housing Solutions | Self-sustaining housing with off-grid energy and water systems | Unit |  | Suitable for remote or resource-limited areas
U110 | Staff Housing with Attached Offices | Housing units with integrated workspaces | Unit |  | Enhances work-life balance
U2 | Staff Housing Rehabilitation | Renovation and modernization of existing housing units | Lump sum |  | Ensures improved living conditions and compliance
U21 | Structural Repairs | Repairs to walls, roofs, floors, and foundations | Lump sum |  | Addresses wear and tear, ensures structural stability
U22 | Plumbing and Sanitation Upgrades | Replacement or repair of water supply and drainage systems | Lump sum |  | Includes new fixtures, pipes, and fittings
U23 | Electrical System Upgrades | Modernization of electrical wiring, outlets, and lighting | Lump sum |  | Ensures safety and energy efficiency
U24 | Energy Efficiency Retrofitting | Installation of energy-saving appliances and insulation | Lump sum |  | Reduces operational costs and environmental impact
U25 | Interior Refurbishment | Painting, flooring, and replacement of fixtures | Lump sum |  | Enhances comfort and aesthetics
U26 | Security Enhancements | Installation of secure doors, locks, and surveillance systems | Lump sum |  | Ensures safety for staff
U27 | Ventilation and HVAC Systems | Installation or upgrade of air conditioning and ventilation | Lump sum |  | Improves indoor air quality
U28 | Landscaping and Outdoor Amenities | Addition of gardens, pathways, and outdoor seating areas | Lump sum |  | Enhances livability and relaxation spaces
U29 | Roof Water Harvesting Retrofit | Adding rainwater harvesting systems to existing structures | Lump sum |  | Promotes sustainable water use
U3 | Recreational Facilities | Construction of facilities for staff relaxation and recreation | Lump sum |  | Promotes staff well-being and morale
U31 | Staff Lounges | Dedicated spaces for staff relaxation and breaks | Unit |  | Equipped with furniture, appliances, and entertainment systems
U32 | Fitness Centers | Gyms or exercise rooms for staff wellness | Unit |  | Includes fitness equipment and shower facilities
U33 | Outdoor Recreational Spaces | Gardens, parks, or sports areas for staff use | Lump sum |  | Promotes physical activity and stress relief
U34 | Childcare Facilities | Construction of daycare centers for staff children | Unit |  | Supports working parents
U35 | Community Kitchens | Shared kitchen spaces for staff to prepare meals | Lump sum |  | Promotes community bonding among staff
U36 | Study Rooms | Quiet spaces for healthcare staff to focus on continuing education | Lump sum |  | Enhances professional development
U37 | Cafeterias and Dining Areas | Construction of shared dining spaces | Lump sum |  | Encourages healthy eating and social interaction
U38 | Indoor Entertainment Areas | Spaces for games, movies, and relaxation | Lump sum |  | Boosts morale and provides recreational activities
U4 | Smart Housing Solutions | Integration of smart technologies for staff housing | Lump sum |  | Improves energy efficiency and operational convenience
U41 | IoT-Based Monitoring | Installation of systems to monitor utilities and maintenance needs | Lump sum |  | Reduces downtime and improves response time
U42 | Solar Energy Systems | Solar panels for powering housing units | Lump sum |  | Reduces dependency on grid power
U43 | Rainwater Harvesting Systems | Collection systems for supplementary water supply | Lump sum |  | Promotes sustainable living
U44 | Emergency Backup Power | Installation of generators or battery storage systems | Lump sum |  | Ensures uninterrupted utilities during outages
U45 | Green Roofs | Installation of green roofs for thermal insulation and aesthetics | Lump sum |  | Enhances environmental sustainability
U46 | Smart Security Systems | AI-enabled surveillance and access control | Lump sum |  | Improves safety and security
U47 | EV Charging Stations | Installation of electric vehicle charging points | Lump sum |  | Prepares for future mobility needs

## Public Health and Outreach F
Public Health and Outreach Facilities
Note: The BoQ covers the unit costs for goods and services required for any Public Health and Outreach Facilities: -Construction of mobile clinics and outreach health units. -Rehabilitation and equipping of public health training centers. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
X1 | Mobile Health Clinics | Fully-equipped mobile clinics for community outreach | Unit |  | Includes diagnostic equipment, power supply, and medical storage
X11 | General Health Mobile Units | Clinics for basic health services like immunizations and checkups | Unit |  | Suitable for underserved and remote areas
X12 | Specialty Mobile Clinics | Mobile units for maternal care, pediatrics, or dental services | Unit |  | Customizable for specific healthcare needs
X13 | Mobile Diagnostic Units | Vehicles equipped with diagnostic tools like X-rays and labs | Unit |  | Facilitates early detection and treatment
X14 | Emergency Response Units | Rapid deployment mobile clinics for disaster or crisis response | Unit |  | Includes first aid, trauma care equipment
X15 | Modular Expandable Clinics | Clinics with extendable modules for increased capacity | Unit |  | Useful for high-demand areas
X16 | Telemedicine-Enabled Mobile Units | Integration of telemedicine systems in mobile clinics | Unit |  | Ensures remote consultations and follow-ups
X17 | Solar-Powered Mobile Clinics | Mobile clinics powered by renewable energy sources | Unit |  | Reduces dependency on fuel, ideal for remote locations
X18 | Mobile Pharmacy Units | Mobile units specifically for dispensing medicines | Unit |  | Ensures accessibility of essential drugs
X19 | Integrated Water and Sanitation Units | Mobile health units with onboard water supply and sanitation | Unit |  | Promotes hygiene alongside health services
X110 | Mobile Mental Health Units | Clinics dedicated to mental health counseling and therapy | Unit |  | Includes privacy features and teletherapy options
X111 | Cold Chain Mobile Clinics | Units equipped with cold storage for vaccines and temperature-sensitive drugs | Unit |  | Supports immunization drives in remote areas
X112 | Training and Awareness Mobile Units | Vehicles equipped for health education and awareness campaigns | Unit |  | Includes audiovisual equipment for presentations
X2 | Public Health Training Center Rehabilitation | Full-scale renovation of health training facilities | Lump sum |  | Improves learning environments and operational efficiency
X21 | Structural Repairs | Repairs to walls, roofs, flooring, and infrastructure | Lump sum |  | Ensures durability and compliance
X22 | Plumbing and Sanitation Upgrades | Restoration of water supply and sanitation systems | Lump sum |  | Includes new fixtures, drainage systems
X23 | Electrical System Modernization | Upgrades to wiring, lighting, and power backup | Lump sum |  | Ensures safe and reliable operations
X24 | Classroom Refurbishment | Renovation of training rooms, seating, and teaching aids | Lump sum |  | Enhances learning experience
X25 | Installation of Training Simulators | Advanced simulators for practical learning in health practices | Unit |  | Includes mannequins, virtual reality systems
X26 | Library and Resource Center Upgrades | Equipping libraries with updated health-related materials | Lump sum |  | Promotes research and continuous learning
X27 | ICT Infrastructure Enhancement | Installation of computers, projectors, and internet connectivity | Lump sum |  | Supports digital learning and telehealth training
X28 | Skill Lab Development | Dedicated spaces for hands-on training in nursing, midwifery | Lump sum |  | Includes equipment like examination tables, delivery beds
X29 | Solar Power Systems | Installation of solar panels for energy efficiency | Lump sum |  | Reduces operational costs
X210 | Accessibility Features | Addition of ramps, elevators, and handrails for inclusive access | Lump sum |  | Ensures compliance with universal accessibility standards
X211 | Smart Monitoring Systems | Integration of IoT-enabled systems for training center management | Lump sum |  | Tracks resource usage and operational efficiency
X212 | Staff Accommodation Development | Construction or rehabilitation of staff quarters near training centers | Lump sum |  | Ensures convenience for trainers and healthcare professionals
X3 | Advanced Public Health Training Facilities | High-tech solutions for public health education | Lump sum |  | Prepares health workers for modern challenges
X31 | Simulation Labs | Facilities for simulated emergency and health scenarios | Lump sum |  | Enhances practical training
X32 | Community Outreach Systems | Technology and equipment for enhanced outreach | Lump sum |  | Improves connection to remote communities
X33 | Environmental Impact Mitigation Systems | Waste management and recycling setups for training centers | Lump sum |  | Promotes eco-friendly practices
X34 | Training in Digital Health Tools | Provision of eHealth and telemedicine equipment | Lump sum |  | Enables modern healthcare delivery
X35 | Mobile Training Units | Vehicles equipped for on-the-go training and education | Unit |  | Facilitates training in remote and underserved areas
X36 | Health Emergency Drill Facilities | Dedicated spaces for conducting health emergency response drills | Lump sum |  | Prepares workers for disasters or outbreaks
X37 | Health Awareness Campaign Equipment | Portable equipment for community education and engagement | Lump sum |  | Includes projectors, portable screens, and sound systems

## Water and Energy Systems in H
Water and Energy Systems in Health & Nutrition
Note: The BoQ covers the unit costs for goods and services required for any Water and Energy Systems in Healthcare: -Construction of dedicated water supply systems for healthcare centers. -Installation of solar power systems for lighting and equipment operation. -Rehabilitation of energy systems to ensure uninterrupted service. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
Y1 | Dedicated Water Supply Systems | Comprehensive systems for uninterrupted water supply | Lump sum |  | Includes design, installation, and commissioning
Y11 | Borehole Drilling and Installation | Drilling and equipping boreholes for water extraction | Unit |  | Includes pumps, casings, and control systems
Y12 | Storage Tank Systems | Installation of elevated or ground-level water tanks | Unit |  | Ensures stable water supply for daily and emergency use
Y13 | Advanced Water Filtration Units | Installation of filtration systems for chemical and biological safety | Lump sum |  | Includes UV, reverse osmosis, or sand filtration systems
Y14 | Distribution Network Installation | Laying pipelines and fittings for connecting water sources | Meter |  | Includes trenching, pipe laying, and backfilling
Y15 | Rainwater Harvesting Systems | Installation of rainwater collection systems and reservoirs | Lump sum |  | Promotes water conservation and reduces costs
Y16 | Desalination Units for Coastal Areas | Installation of desalination plants for saline water treatment | Lump sum |  | Provides potable water in coastal healthcare centers
Y17 | Water Quality Monitoring Stations | Setup of testing stations for real-time water quality checks | Lump sum |  | Ensures compliance with health standards
Y18 | Automated Pressure Systems | Installation of pressure pumps with smart control systems | Unit |  | Prevents low-pressure issues in multi-story facilities
Y19 | Redundant Water Supply Systems | Dual water sources for critical healthcare operations | Lump sum |  | Ensures uninterrupted supply during primary system failures
Y110 | Firefighting Water Systems | Dedicated water lines and tanks for fire suppression systems | Lump sum |  | Meets emergency response requirements
Y2 | Solar Power Systems | Renewable energy systems for healthcare centers | Lump sum |  | Includes solar panels, inverters, and storage batteries
Y21 | Roof-Mounted Solar Panels | Installation of panels on healthcare facility roofs | kW |  | Designed for efficient energy capture and space utilization
Y22 | Solar Backup Systems | Hybrid systems with battery and generator integration | Lump sum |  | Ensures continuous power for critical medical equipment
Y23 | Solar Lighting Systems | Installation of solar-powered LED lighting for wards, corridors, and external areas | Lump sum |  | Improves reliability during power outages
Y24 | Off-Grid Solar Solutions | Standalone solar systems for remote healthcare facilities | Lump sum |  | Reduces dependency on unreliable grids
Y25 | Solar-Powered Water Pumps | Pumps powered by solar energy for sustainable water supply | Unit |  | Suitable for remote and arid regions
Y26 | Battery Storage Systems | Installation of high-capacity storage for energy independence | Unit |  | Supports energy needs during cloudy or low-sunlight periods
Y27 | Solar Refrigeration Units | Solar-powered cooling systems for vaccines and medicines | Unit |  | Ensures temperature stability for sensitive medical supplies
Y28 | IoT-Enabled Solar Monitoring | Real-time monitoring of solar system performance | Lump sum |  | Optimizes energy usage and maintenance
Y29 | Solar Training Programs | Training local technicians for solar system maintenance | Session |  | Ensures sustainability and local capacity building
Y210 | Solar Water Heating Systems | Solar-powered heaters for hot water supply in healthcare centers | Unit |  | Reduces reliance on electricity or gas heating systems
Y3 | Energy System Rehabilitation | Comprehensive restoration of energy systems | Lump sum |  | Ensures operational efficiency and sustainability
Y31 | Electrical Grid Modernization | Upgrading wiring, switchboards, and power distribution systems | Lump sum |  | Reduces operational risks and ensures compliance
Y32 | Generator Replacement or Upgrades | Installation of advanced diesel or gas-powered generators | Unit |  | Provides reliable power backup for critical systems
Y33 | Energy-Efficient HVAC Systems | Retrofitting heating, ventilation, and cooling systems | Lump sum |  | Improves patient comfort and energy efficiency
Y34 | Replacement of Power Transformers | Replacement of old transformers for stable power supply | Lump sum |  | Suitable for high-demand healthcare facilities
Y35 | Integration of Smart Energy Systems | IoT-enabled monitoring for load management and usage analysis | Lump sum |  | Enhances energy efficiency through data-driven insights
Y36 | UPS Systems for Critical Equipment | Installation of uninterruptible power supplies for sensitive medical devices | Unit |  | Ensures operational continuity during power interruptions
Y37 | Lightning Protection Systems | Installation of lightning rods and surge protectors | Lump sum |  | Protects infrastructure from weather-related damages
Y38 | Renewable Hybrid Energy Systems | Combination of solar, wind, and biomass energy solutions | Lump sum |  | Provides diversified and sustainable energy sources
Y39 | Fuel Storage Systems for Generators | Installation of safe and accessible fuel tanks | Unit |  | Ensures uninterrupted generator operation during emergencies
Y310 | Rehabilitation of Onsite Substations | Modernization of electrical substations within healthcare facilities | Lump sum |  | Supports high-capacity electrical needs
Y4 | Smart Water-Energy Systems | Combined systems for efficient water and energy management | Lump sum |  | Reduces operational costs and improves sustainability
Y41 | Integrated Water Purification and Power Systems | Dual-purpose setups for remote healthcare facilities | Lump sum |  | Suitable for off-grid and resource-limited settings
Y42 | Energy Audits and Assessments | Detailed energy use evaluations and optimization plans | Lump sum |  | Identifies areas for efficiency improvements
Y43 | Maintenance Contracts | Long-term contracts for system upkeep and monitoring | Lump sum |  | Ensures consistent performance and reduces downtime

## Community Health Support I
Community Health & Nutrition Support Infrastructure
Note: The BoQ covers the unit costs for goods and services required for any Community Health Support Infrastructure: -Development of wellness centers, mental health units, and rehabilitation clinics. -Construction of training facilities for community health workers. in Türkiye and Syria. Separate unit costs could be provided for Türkiye or Syria if deemed necessary. Only highlight (yellow) cells are required to be filled up.
Ref. | Goods / Services | Description / Specifications | Unit | Quantity | Remarks
Z1 | Wellness Centers Construction | Development of holistic wellness centers for community health | Lump sum |  | Includes primary care rooms, fitness areas, and consultation rooms
Z11 | Therapy and Counseling Rooms | Construction of specialized spaces for mental health therapy | Unit |  | Includes soundproofing and calming interior designs
Z12 | Physical Rehabilitation Clinics | Facilities for physical therapy, mobility recovery, and rehabilitation | Unit |  | Equipped with therapy equipment and accessible designs
Z13 | Hydrotherapy Facilities | Installation of hydrotherapy pools and equipment for rehabilitation | Lump sum |  | Suitable for physiotherapy and specialized treatments
Z14 | Multisensory Rooms for Mental Health | Creation of sensory therapy rooms for stress reduction | Unit |  | Designed for therapeutic interventions in mental health
Z15 | Wellness Cafeterias | Cafeterias offering nutritious meals tailored for health recovery | Lump sum |  | Supports patient and community wellness
Z16 | Specialized Women’s Wellness Units | Dedicated spaces for maternal health and well-being | Unit |  | Includes prenatal, postnatal care rooms
Z17 | Rehabilitation Gardens | Outdoor therapeutic spaces for patient recovery | Lump sum |  | Enhances recovery with natural surroundings
Z18 | Crisis Intervention Units | Facilities for immediate mental health crisis response | Unit |  | Includes dedicated staff and secure infrastructure
Z2 | Training Facilities for Health Workers | Comprehensive facilities for community health training | Lump sum |  | Includes classrooms, dormitories, and practical labs
Z21 | Advanced E-Learning Centers | Digital hubs for online and hybrid health education | Lump sum |  | Ensures access to global best practices
Z22 | Simulated Emergency Training Rooms | Spaces for disaster and emergency healthcare response training | Unit |  | Equipped with simulation tools and mock setups
Z23 | Health Policy and Leadership Training Centers | Facilities for leadership and policy-making skill enhancement | Lump sum |  | Promotes strategic healthcare management
Z24 | Mobile Skill Development Labs | Mobile units for hands-on healthcare training | Unit |  | Ideal for reaching remote trainees
Z25 | Audio-Visual Training Resources | Development and distribution of multimedia training materials | Lump sum |  | Enhances training accessibility and effectiveness
Z26 | Instructor Training and Certification Programs | Specialized programs for health training facilitators | Lump sum |  | Ensures high-quality knowledge transfer
Z27 | Public Health Campaign Design Studios | Facilities for creating materials for public health awareness | Lump sum |  | Includes graphic design and content creation tools
Z3 | Advanced Rehabilitation Facilities | Specialized units for comprehensive rehabilitation | Lump sum |  | Includes neurological, cardiac, and pediatric rehabilitation services
Z31 | Ergonomic Therapy Equipment | Installation of state-of-the-art rehabilitation tools | Lump sum |  | Supports patient recovery with modern technologies
Z32 | Palliative Care Units | Dedicated spaces for end-of-life care | Unit |  | Includes hospice care services
Z33 | Chronic Disease Management Clinics | Clinics focusing on diabetes, hypertension, and other chronic diseases | Unit |  | Includes patient monitoring and education
Z34 | Specialized Pediatric Clinics | Child-focused clinics for preventive and acute care | Unit |  | Ensures child-friendly designs
Z35 | Health Data Collection Hubs | Centers for gathering, analyzing, and sharing community health data | Lump sum |  | Supports data-driven decision-making
Z36 | Community Fitness Trails | Outdoor trails with fitness stations for preventive health | Lump sum |  | Encourages community-level physical activity
Z4 | Monitoring and Evaluation Systems | Systems to track community health program outcomes | Lump sum |  | Promotes data-driven decision-making
Z41 | AI-Powered Health Insights Platforms | Installation of AI systems for analyzing health trends and predicting outbreaks | Lump sum |  | Enables proactive healthcare measures
Z42 | Interactive Community Dashboards | Digital dashboards for public and healthcare workers | Lump sum |  | Provides real-time health data access
Z43 | Regional Telemedicine Units | Telemedicine setups at regional hubs for remote consultations | Lump sum |  | Improves accessibility to specialist care
Z44 | Environmental Health Monitoring Systems | Tools for tracking health impact of local environmental changes | Lump sum |  | Promotes preventive action against pollution and hazards